## Instructions
Purpose | This DCIM Sample Question file is to be used by those companies that are seeking vendors to fulfill requirements for a Data Center Infrastructure Management (DCIM) project. Preparing to issue a Data Center Infrastructure Management bid? Do you know what you actually need or what your requirements are? There are many choices of vendors and solutions, each having a slightly different twist. The tab "DCIM Requirements"provides an easy to use toold to ensure your most pertinent questions and concerns are answered and the DCIM you choose is the right one for you
Instructions
1 | Fill in "Company Information" tab with company specifics as to the purpose of the proposal request, who should receive the proposal and when.
2 | Review questions in "DCIM" tab and identify / add any additional questions, or remove non-relevant questions
3 | Use column "C" in "DCIM Requirements" tab to identify whether a feature is "must have", "future requirement", or "optional"
4 | Submit completed workbook to vendors for proposal with associated cover letter
Vendor Instructions
1 | Review "Company Information" tab for purpose, due dates, and contact information
2 | Complete "DCIM Requirements" tab, column D and identify compliance response (Comply, Not Available, Roadmap)
3 | Complete "DCIM Requirements" tab, column E and provide description of Vendor functionality in regard to requirement
4 | Complete "Pricing" tab with vendor best pricing offer

## Project Info and Scope
Please fill in the following information (shaded in yellow) prior to submitting the RFP to selected vendors
Company Information | Company name requesting a proposal
Company Contact | Name
Email
Address
Phone
Proposal Purpose | Briefly descibe your goals and timeline
Proposal Compliance Statement | Providers must comply with these instructions or they may be subject to having their response dismissed as unresponsive. A response may be deemed non-compliant if it is difficult to read or understand, or is missing requested information.
Other Required Documents for Submittal | List other required documents for submittal here
Other Proposal Considerations | List anything else vendors should consider or adhere to as part of their proposal submittal
Proposal Due Date | Date proposal is due
Send all proposals to: | Name
Email
Address
Phone Number
Questions | Questions or requests for additional information about this document must be sent via e-mail to the associated contact. All correspondence must identify the section, number and question from this document to which they refer.
Questions Due Date | Identify the date by which all questions are to be sent to Company
Contact for Questions: | Identify who the contact would be for questions relating to this proposal
Response to questions from Vendors | Identify Response date
Milestones:
Proposal Review Process | Please describe your review process
Demonstration Date | Identify whether a demonstration will be required and the associated date.
Vendor Selection Date | Identify the date by which a vendor will be selected
Targeted Implementation Date | Identify the date by which the solution is required to be implemented
Other Date 1 | Descirbe any other due dates
Other Date 2 | Descirbe any other due dates
Other Date 3 | Descirbe any other due dates
Project Scope Questions for Vendor Understanding. Provide responses in yellow sections or tables below
1. Will a Point of Contact / Project Manager be assigned within your organization to coordinate with internal resources, or does the vendor need to provide an onsite Project Manager for start-to-finish implementation and coordination? An offsite Project Manager is built-in by Raritan
2. For each of the data centers to be modeled within DCIM solution, what format does the current asset and infrastructure inventory records reside in, for example Excel, home-grown database, needs physical survey, etc.? (fill in chart below)
3. For each of the data centers, what level of detail is required for the project? Raritan software allows for space and asset management, power management and end-to-end cable management. Note: Achieving end-to-end cable management indicates that network and power cables are labeled and traceable, or documented in a useable format.
Site | Site Name | Cabinet Count | Space / Asset |  | Power |  | Network
|  |  | (Include / Format) |  | (UPS to Rack PDU) |  | (end-to-end cable)
[5 empty] | (Include / Format) |  | (Include / Format)
Example 1 | Demo 1 | 100 | Yes | Excel | Yes | Excel | Yes | Homegrown
Example 2 | Demo 2 | 250 | Yes | SQL DB | Yes | Excel | No | Onsite Survey
1
2
3
4
4. What systems will the DCIM need to interface to?
- Helpdesk or Ticketing management
- CMDB
5. Data Center Sensors and intelligent rack PDUs – Are intelligent power strips with sensors being installed with this project? If so, who will handle: physical installation, Rack PDU naming and configuration onto the network, and Sensor naming and configuration

## DCIM Requirements
Please fill in the following information (shaded in yellow) prior to submitting the RFP to selected vendors
Data Center Infrastructure Management (DCIM) Software Requirements
Project: | Date of response: | Enter the date of the response here
Category | Req # | Requirement | Req Type (Must Have / Optional, Future) | Response (Comply, Not Available, Roadmap) | Description / Additional Comments
General |  | General Requirements
| G-01 | Support deployment directly on a physical server or as a VMware; Linux KVM or Microsoft Hyper-V virtual appliance
| G-02 | System backup shall be automatically be created and pushed to remote storage
Models Library |  | Built-in comprehensive list of data center equipment manufacturers and models.
| ML-01 | Models Library: Ability to import and synchronize updates to the library
| ML-02 | Models Library: Updated monthly with new models by the DCIM Vendor
| ML-03 | Models Library: Ability to manage a comprehensive list of data center equipment manufacturers and models and associated attributes including 1. Make 2. Model number, 3. Asset class type, 4. Mounting type, 5. Physical dimensions, 6. RU height, 7. Weight, 8. Front image, 9. Rear image, 10. Data port specifications, 11. Power supply specifications. 12. Airflow direction 13. Server CPU, RAM, Disk details.
| ML-04 | Models Library: Ability to add, clone and edit models from the user interface
| ML-05 | Models Library: Ability to add new assets with the items characteristics automatically populated. (i.e. the number of data and power ports shall be shown on a new item created from a model in the library and other server specifications like CPU, RAM and Disk size)
| ML-06 | Models Library: Ability to develop a company standard library such that only models that are in the company standard library are available for users to select from when adding a new asset
| ML-07 | Models Library: Ability to use provided or customize images. Port placement shall be identifiable on the images
| ML-08 | Equipment Template Library with pre-defined templates for rack, floor-mounted devices, servers, switches, routers, Rack PDUs, RPPs, PDUs, UPSs, CRAC, HVAC, floor tiles… etc.
| ML-09 | Models Library: Ability to define and manage rules for models such that a model specifications can automatically change when deployed in different locations
Asset Import |  | Tools to make integration of existing data easier.
| AI-01 | Asset Import: Ability to track and manage all data center assets including: Cabinets, racks, devices, network equipment, cable plant patch panels, UPS, floor PDU, RPP, panel boards, electrical busways, electrical outlets, rack PDUs, CRAC units, and environmental probes
| AI-02 | Asset Import: Import to any field in the database (data mapping)
| AI-03 | Asset Import: Conduct validation on each row independantly from other rows such that good rows are imported and invalid ones are not. Generate a new import file with all invalid rows
| AI-04 | Asset Import: Rename the items names
| AI-06 | Asset Import: Import Asset details including custom fields, data ports and connections, power ports and connections and structures cabling, Panel Breaker schedules and data center locations
Asset Management |  | Ability to know what you have. Store detailed information about your assets and configurations., Easily import, add or change information with automated and built-in tools and libraries.
| AM-01 | Asset Management: Add new assets to the database based on the models defined within the library
| AM-02 | Asset Management: Clone a single item, single cabinet, multiple items, or multiple cabinets at once
| AM-03 | Asset Management: Bulk update the asset information via GUI and import within the database
| AM-04 | Asset Management: Track 1. Cabinet assignment, 2. RU position assignment, 3. Asset dimensions, 4. Asset weight, 5. Detailed asset front and rear images
| AM-05 | Asset Management: Track asset-related data including: 1. Make, 2. Model, 3. Asset tag (barcode), 4. Serial number, 5. Purchase date, 6. Purchase price
| AM-06 | Asset Management: Track asset-related maintenance information include: 1. SLA, 2. Maintenance contract, 3. Maintenance contract start date, 4. Maintenance contract end date
| AM-07 | Asset Management: Create unlimited number of user-defined custom fields. Field type shall include pick list, multi-select pick list, boolean, date and text area.
| AM-08 | Asset Management: Ability to lay out the UI for the user defined custom fields and arrange them in sub-tabs and panels with customizable titles. Use drag and drop to arrange the fields in the panel and to size and move the panels.
| AM-09 | Asset Management: Store and ability to launce to external links to documents and 3rd-party applications using file, http, telnet and other links
| AM-10 | Asset Management: Move items between racks without need for re-provisioning via GUI and bulk import
| AM-11 | Asset Management: Track and manage software applications installed on all device types (physical, blade, virtual) including tracking the application administrator, application user department/owner, and application criticality
| AM-12 | Asset Management: Create and manage configuration of data ports including network, SAN, and other data ports
| AM-13 | Asset Management: Assign port names, color codes, VLANs, MAC, and IP addresses
| AM-14 | Asset Management: Track port physical attributes such as port connector type, protocol, and speed
| AM-15 | Asset Management: Create and manage configuration of power supplies including power supply names, color codes, connector type, nameplate Watts, nameplate Amps, budgeted Watts, budgeted Amps, and power factor
Search |  | Asset database search capabilities
| SE-01 | Search: Ability to search and filter to locate an asset or circuit
| SE-02 | Search: Ability to export search results
| SE-03 | Search: Ability to limit search criteria based on asset or circuit attributes
| SE-04 | Search: Ability to combine search criteria and use operators such as OR, AND, >, >=, <, <= and =. Ability to search on exact match, contains, begins with, ends with
| SE-05 | Search: Ability to customize the search results table: re-order columns, sort, change column width, show or hide Scolumns
| SE-06 | Search: Ability to save the customization and filter parameters in to named views that can be retreived by name and shared with other users
| SE-07 | Search: Ability to search and locate the best location (cabinet and U position) for an asset, utilizing available space, cooling, network and power capacity to optimize capacity utilization and avoid stranded capacity
| SE-08 | Search: Ability to search and locate an IT device to perform power control
Visualization |  | Know where your assets are. View your entire floor map and drill down on individual assets. Easily search and filter the information you want to view.
| VI-01 | Floor Plan Management: Ability to import and export an unlimited number of AutoCad and Visio drawings representing the floor layouts for different sites or rooms
| VI-02 | Floor Plan Management: Ability to configure a floor map, a bird’s eye view of the room layout including row, POD, rack, door (enclosure, cabinet), environmental sensors, IT devices with association to the individual PDU outlets
| VI-03 | Floor Plan Management: Ability to render the floor layout in both 2D and 3D view
| VI-04 | Floor Plan Management: Ability to link floor map objects to a database
| VI-05 | Floor Plan Management: Ability to drill down from the floor map view to show the elevation of rows and racks
| VI-06 | Floor Plan Management: Ability to drill down from the floor map view to show individual racks and contents
| VI-07 | Floor Plan Management: Color code floor plan objects based on consumption and capacity criteria such as RU space, weight, temperature, humidity, budgeted power, and real-time power
| VI-13 | Floor Plan Management: Set threshold on the color coded Floor Plan Reports that indicate the status based on real-time measured values and events for available RU space vs. configurable thresholds, occupied space vs. configurable thresholds, cabinet capacity, weight per cabinet, weight capacity per cabinet, static load per cabinet, max temperature per cabinet fronts/rears, measured amps per cabinet, budgeted power per cabinet, and a health map
| VI-08 | Floor Plan Management: Color-code floor plan objects and cabinet contents based on the values for a choosen field such as status, model, customer, type, function, etc as well as custom fields
| VI-09 | Floor Plan Management: Export the complete or filtered data center inventory into a delimited file (.csv)
| VI-10 | Floor Plan Management: Ability to recognize the layers from the imported drawing and toggle each layer on or off and save the layer state
| VI-11 | Floor Plan Management: Ability to select one or more layers that dipict a cable tray and render it at a given elevation above the cabinets or under the raised floor.
| VI-12 | Floor Plan Management: Ability to download the the Floor Layout to AutoCAD format (.dwg), edit it to update changes and re-import
| VI-13 | Asset Views: Ability to search on any standard or custom item field and render the results in the 3D view by making the cabinets translucent and showing the only the cabinet contents that match the search criteria
| VI-14 | Asset Views: Ability to save one or more set of search parameters into named views for later retrievable. Ability to search such view with other users
| VI-15 | Asset Views: Show cable plant and electrical connectivity between floor objects
| VI-16 | Asset Views: Have a user configurable time lapse video to show hourly, daily, and monthly temperature or pressure readings, represented as a thermal map view, similar to radar weather maps
| VI-17 | Asset Views: Visualize the thermal map on three planes - top, middle, and bottom of rack
| VI-18 | Cabinet elevations: Ability to view multiple cabinet elevations in one view based on multiple criteria including physical adjacent (row), user-defined logical grouping of cabinets, and cabinet RU usage.
| VI-19 | Power Circuit Views: Summary view of a given cabinet including budgeted power, heat output, total weight, items in cabinet, available RUs, and largest contiguous RUs
| VI-20 | Power Circuit Views: Summary view of the types of ports, total number of ports, and total number of available ports for a given port type
| VI-21 | Power Circuit Views: Summary view of connection path information including inlet/outlet, power path connections, amps (r/b/m), and source
| VI-22 | Power Circuit Views: Summary view of the power source including the number of breaker poles, the rated/budgeted/measured amps at the power outlet, the origination source, and sub-panel name
Connectivity Management |  | Map and easily view the power chain all the way from the server up to the power bank
| CM-01 | Data Connectivity: Visually build data circuits between any combination of devices, network equipment, and patch panels including all hops in a single circuit
| CM-02 | Data Connectivity: Intelligence to allow and disallow connections based on fixed compatibility requirements such as connector types, protocols, and speeds.
| CM-03 | Data Connectivityt: Set connections based on user-defined criteria such as color codes, groupings, and VLANs
| CM-04 | Data Connectivity: Distinguish all ports that are in use or ports that do not match the connectivity criteria
| CM-05 | Data Connectivity: Manage structured cabling (copper and fiber patch panels) within sites and between sites
| CM-06 | Data Connectivity: When displaying a data circuit terminating on a switch, allow to trace through the uplink port(s) to the upstream switch or router
| CM-07 | Data and Power Connectivity: Display the circuits in the 3D visualization to visualize the relationship between items
| CM-08 | Power Connectivity: Visually build power circuits between power supplies, rack PDU sockets, and electrical outlets
| CM-09 | Power Connectivity: Intelligence to allow and disallow connections based on the availability of budgeted power through the entire power chain upstream to the UPS
| CM-10 | Power Connectivity: Intelligence to allow and disallow connections based on the ratings of connectors and breakers through the entire power chain upstream to the UPS
| CM-11 | Power Connectivity: Intelligence to allow and disallow connections based on fixed compatibility requirements such as power and data connectors
| CM-12 | Power Connectivity: Visually trace power circuits including all hops in the power chain
| CM-13 | Power Connectivity: Alert the user as to where the bottleneck is in the power chain in the event a circuit cannot be built due to lack of available budgeted power
| CM-14 | Power Connectivity: Generate a list of equipment that would be impacted if the selected piece of equipment, e.g. a Floor PDU, Panel or breaker
Power Management |  | Easily visualize and manage power.
| PM-01 | Powerchain: Ability to manage all nodes in the power chain including: UPS, PDU, RPP, panel board, busways, circuit breakers, electrical outlets, rack PDUs, rack PDU breakers/fuses, rack PDU sockets
Powerchain: Ability to manage all nodes in the power chain for Direct Current systems including: DC Power Plant, BDCBB, BDFB, Fuse Alarm Panels and Rack Invertors
| PM-02 | Powerchain: Ability to visualize the power path in a graphical diagram, including associated values at each node in the power path including budgeted and measured power
| PM-03 | Powerchain: Ability to manage 3-phase power along all nodes in the power chain using various 3-phase conventions including L1/L2/L3, A/B/C, and color codes
| PM-04 | Panel Boards: Ability to configure AC and DC panel boards with any number of circuit breaker pole positions using all international conventions including odd/even and sequential
| PM-05 | UPS: Ability to create UPS banks and gang multiple UPS units into a single UPS bank
| PM-06 | UPS: Ability to define redundancy level within UPS bank
| PM-07 | PDU: Ability to track various PDU configurations including PDU with multiple panel boards, PDU with RPPs, PDU with busways.
| PM-08 | DC Power: Ability to configure DC Power plants with multiple rectifiers, battery strings and output panels
| PM-09 | DC Power: Ability to calculate output power from rectifier based on individual Rectifier capaicty, Rectifiers redundancy and allowing for battery charging capacity
| PM-10 | DC Power: Ability to calculate estimated Battery Run Time based on the number of battery strings, battery model and specifications, battery age and present load on the plant
| PM-11 | Rack PDU: Ability to track various rack PDU configurations, define socket types, and branch circuit breakers/fuses.
| PM-12 | PDU: Ability to track capacity: nameplate, budgeted and measured usage for the entire PDU and each individual branch circuit.
| PM-13 | PDU: Ability to make configuration updates in bulk inclulding PDU rescanning, decommissioning and maintenace.
| PM-14 | PDU: Ability to roll back or restore PDU configurations in bulk
| PM-15 | PDU: Ability to change PDU administrator passwords in bulk
| PM-16 | PDU: Ability to automatically discover PDUs
| PM-17 | PDU: Ability to automatically discover a range of PDUs
| PM-18 | PDU: Polling path redundancy
| PM-19 | Power Path Report: Ability to provide information on systems dependent on a specified ATS/UPS/PDU/Power Strip
| PM-20 | Power Report: Ability to track and report current power costs and associated costs by platform, application or business unit which is useful for bill-back
| PM-21 | Power Report: Remote capability for graceful OS shutdown in event of an emergency
| PM-22 | Power Report: Remote power supply outlet control (on/off)
| PM-23 | Traps: Ability to set a trap receiver
| PM-24 | Traps: Ability to forward traps to another system
Network Management |  | Ability to see and search for network capacity at multiple points in your network chain
| NM-01 | Network Management: Ability to track various configurations including: 1. stackable switches, 2. chassis and blade switches, and 3. network equipment, 4. SAN switches
| NM-02 | Network Management: Ability to assign VLANs to network switches
| NM-03 | Network Management: Ability to assign one or more IP addresses to a port of a server. Ability to assign IP addresses on multiple ports of a server. Ability to assign the same IP to multiple ports of a server to achieve teaming or bonding.
| NM-04 | Network Management: Ability to assign IP subnets to VLANs
| NM-05 | Network Management: Ability to create and manage IP subnets
| NM-06 | Network Management: Ability to create and manage pools of static IP addresses using an intelligent IP address calculator
| NM-07 | Network Management: Ability to assign subnet names, subnet suffix, and color codes to IP subnets
| NM-08 | Network Management: Ability to assign IP addresses from pool of available IP addresses to device ports using pre-defined subnets.
Real-time Monitoring |  | Tools to ensure uptime and availability
| RT-01 | Real-time Monitoring: Display real-time monitoring in a unified view
| RT-02 | Real-time Monitoring: Capability to create customized dashboards for event viewing (site, rack, asset power consumption at port level)
| RT-03 | Real-time Monitoring: Define and monitor for thresholds violations on inlet current, unbalanced current %, rack pdu breaker state change, rack PDU breaker current, temperature, humidity, and rack power load.
| RT-04 | Real-time Monitoring: Enable user-defined polling intervals
| RT-05 | Real-time Monitoring: Poll data center devices using SNMP v3 protocol
| RT-06 | Real-time Monitoring: Poll power consumption, temperature, humidity, airflow, pressure, contact closures, door locks, water, and smoke continuously based user-defined intervals and store historical results in the database
| RT-07 | Real-time Monitoring: Poll UPS, PDU, Remote Power Panels (RPPs), Busways, CRAC, BCMs, and environmental sensors to capture instantaneous data
| RT-08 | Real-time Monitoring: Identify hot spots
| RT-09 | Real-time Monitoring: Maintain and reference historical environmental data indefinitely
| RT-10 | Real-time Monitoring: Collect data for watts, amps, voltage, watt hours, power factor, carbon footprint, cost, airflow, air pressure, humidity, temperature. This data shall be collected at the inlet, outlet, phase, and breaker
| RT-11 | Real-time Monitoring: Circuit capacity and utilzation
| RT-12 | Real-time Monitoring: Thermal & Energy Analytics
| RT-13 | Real-time Montioring: Ability to receive event notifications via http delivery.
| RT-14 | Real-time montioring: Ability for managed PDUS to respond to SNMPv3 Informs, acknoledging their receipt.
| RT-15 | Monitor for events(if supported by Traps from your Rack PDUs) including:
1. Server Reachable (Not Reachable, Not Reachable Clear)
2. Inlet Over/Under Peak Current (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Sensor Unavailable Clear)
3. Inlet Over/Under Unbalanced Current (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
4. Inlet Over/Under Active Power (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
5. Inlet Over/Under Apparent Power (Critical, Warning, Critical Clear, Warning Clear, Unavailable, Unavailable Clear)
6. Inlet Over/Under Power Factor (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
7. Inlet Over/Under Frequency (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
8. Inlet Over/Under Phase Angle (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
9. Inlet Over/Under Residual Current (Critical, Warning, Critical Clear, Warning Clear)
10. Power Quality (Critical, Warning, Critical Clear, Warning Clear)
11. Inlet Over/Under Voltage Line (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
12. Outlet Over/Under Peak Current (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
13. Outlet Over/Under Unbalanced Current (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
14. Outlet Over/Under Active Power (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
15. Outlet Over/Under Apparent Power (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
16. Outlet Over/Under Power Factor (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
17. Outlet Over/Under Phase Angle (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
18. Outlet Over/Under Voltage Line (Critical, Warning, Critical Clear, Warning Clear, Unavailable Clear)
19. Outlet Power State (Unavailable, Off, On, Unavailable Clear, Off Clear, On Clear)
20. Circuit Breaker Peak Current (Critical, Warning, Unavailable, Critical Clear, Warning Clear, Unavailable Clear)
Workflow and Change Management |  | Tool to manage, monitor and report on change requests
| WF-01 | Change Management: Generate requests to add, move or change assets and connections
| WF-02 | Change Management: Ability to review, reject, or approve requests
| WF-03 | Change Management: Generate work orders (tickets), assign to users, reserve space, define due dates, track status, and keep an audit trail
| WF-04 | Change Management: Generate e-mail notifications for every state change in the change management process
| WF-05 | Change Management: Produce reports of changes and work order status
| WF-06 | Change Management: Integrate with third party ticketing systems to import tickets, assign work orders, and track status updates
Integration |  | Ability to leverage existing tools. Open web services APIs provide workflow efficiencies
| I-01 | Integration: APIs to enable integration with third-party change management and ticketing systems
| I-02 | Integration: Integration with third-party systems to allow it to read and query the database using ODBC views
| I-03 | Integration: Integration with CMDB systems to provide asset Item create, read, update and delete
| I-04 | Integration: Web Services API that enables integrations with 3rd party systems and allow them to created, read, update and delete on various objects in the database
| I-05 | Integration: Web Services API that enables power control and reading of events
Dashboards |  | Built-in chart views
| RD-01 | Dashboards: Ability to view pre-defined key performance indicator (KPI) charts displaying information on the status of the enterprise health, asset inventory, space, power, cooling and connectivity within the data center
| RD-02 | Dashboards: Ability to choose which KPIs to display on their own dashboard view. The information to view must be aligned with their permission set
| RD-03 | Dashboards: The pre-defined KPI charts shall include:
| RD-04 | 1. Count of device, number of items, % of used racks, % of active power, PUE, Average Active Power, and Average Inlet Temperature
| RD-05 | 2. Asset Inventory KPIs shall include charts for Items Added per Week, Item Age, and the breakdown of Items by Type
| RD-06 | 3. Capacity KPIs shall include charts for Number of Used vs Open Rack/Chassis Slots, Top Customers/Racks, Floor Space Usage, Fragmentation
| RD-07 | 4. Power Status KPI charts shall include a budget power consumed
| RD-08 | 5. Cooling KPI Charts shall include cooling capacity, ASHRAE conformance, Inlet Termperature/Humidity
| RD-09 | 6. Connectivity KPI Charts shall include used vs. open network/data ports, top racks with open ports by connector, report of data circiuits by number of hops, and connected items by power supply or redundancy.
| RD-10 | Dashboard: Set of pre-configured dashboard widgets
| RD-11 | Dashboard: Ability to create personal dashboard pages and copy any number of widgets to it and save with the preferred parameters
| RD-12 | Dashboard: Ability to share dashboards with other users or set some dashboards in a list of favorites
| RD-13 | Widget: Ability to create own custom widgets within the DCIM using HTML
| RD-14 | Widget: Ability to use SQL commands to query ODBC tables and displays results in a report
| RD-15 | Widget: Downloadable library of custom widgets that can report on virtually any data within the system
| RD-16 | Widget: Ability to drilldown on details of widget data and filter based on columns of the additional detail. In addition to filtering, ability to sort, group and re-order columns. When grouping, ability to count, sum, or calculate min, max, and average for each group
| RD-17 | Widget: Ability to drill down to obtain detail information about a specific widget display
| RD-18 | Widget: Ability to include one or more widgets in a report that can be automatically generated and sent via email on a set reoccuring schedule
| RD-19 | Reports: Ability to generate reports from all dashboard widgets, print to PDF, and export reports to Excel
| RD-20 | Reports: Ability to generate custom reports
Standard PDU Reports |  | Software shall be able to support the following standard report templates out-of-box
| SR-01 | Health Map: Used as a base to color code and display racks based on event severity. If the rack itself, or any PDUs or sensors contained in the rack have warning or critical active events, the rack is shown as warning (yellow) or critical (red) level
| SR-02 | Active Events: Displays the 10 highest severity and active events in a list
| SR-03 | Power/Energy Report: Reports and charts that show:
1. Active Power (W)
2. Current (amp)
3. IT Energy (kWh)
4. CO2 Footprint (CO2 Kg)
5. IT Energy Cost ($ or other currency)
6. Total Energy Including Cooling (kWh)
7. Total Energy Cost Including Cooling ($ or other currency)
| SR-04 | Environmental Conditions Report
1. Temperature Charts showing Outlet and outlet temperature as well as Outside Air Temperature
2. Humidity Charts including Outlet Humidity (%), Outlet Humidity (%), and Outside Air Humidity (%)
3. Air Flow and Pressure Charts including Air Flow (m/s) and Air Pressure (Pa)
| SR-05 | Rack Failover Report: Shows which racks may completely lose power when one of the two redundant power sources fails or is turned off for maintenance. Simulates a failover situation, and indicates a prediction for your rack's highest utilization percentage.
| SR-06 | Device Chart: Displays a default setting of average active power over the past 24 hours
| SR-07 | Capacity Forecast Chart: Tracks maximum active power of a data center. Based on the capacity settings, the chart displays how many days of supply remain before your data center reaches capacity, or it will indicate that you have adequate capacity
| SR-08 | Capacity Gauge: Shows how much power a selected node of your data center has consumed over a specified time period. The gauge shows a tick mark for minimum, maximum and average power consumed during the time period. The dial points to the real time active power reading.
| SR-09 | Cooling Utilization: Cooling charts enable you to compare your data center's sensor readings against industry recommendations - ASHRAE 2011
| SR-10 | PUE Trend Chart: Allows you to see how your data center's PUE has changed over a time period you select. Either daily or monthly calculations may be used. The length of the trend depends on how much data Sunbird’s DCIM Monitoring has collected, as well as your selection.
| SR-11 | Facilities Chart: Electrical Utilization - The Facilities chart widget enables you to display active power or energy readings for one or more facilities objects, such as a CRAC, floor PDU, floor UPS, power panel, or standalone meter, in your data center.
| SR-12 | Rack PDU Energy Trends including Active Power, IT Energy, Line Current, and Circuit Breaker Current
| SR-13 | Rack IT Devices: A list of all devices that are connected to one or more outlets or circuits. Devices that have associated circuits display the current and active power of the circuit. The outlets associated with each device display beneath the IT device. There is a checkbox for each outlet, to select it for power control operations. Each outlet shows a Trend chart showing the active power trend.
| SR-14 | PDU Elements: A list of all outlets in the rack, or all outlets on the PDU, respectively
| SR-15 | Rack Energy and Environmental Trends: Shows Energy and Environmental Trends, the first and last data points in the trend and the minimum and maximum values in the trend. Environmental, temperature and humidity charts are shown one per sensor
| SR-16 | Rack PDU Readings: Power readings for the PDU
| SR-17 | Cab (Rack) Detail Report: Displays either a text-based or visual representation of the cabinet elevations for the cabinets. Includes additional cabinet details such as the make, model, size, weight, and so on
| SR-18 | Cab (Rack) Resource Report: Information on cabinets and the resources that are associated with them such as power ports, network equipment reports, comm ports, and so on
| SR-19 | Items (Inventory) Report: A list of all items being maintained. Additionally, information specific to each item, such as the item type, function, administrator, etc. is captured in this report. This report can be filtered to display information based on criteria you specify
| SR-20 | Item Details Report: Displays either text-based representations of items or, when available, images of the items being managed. Includes additional device details such as the make, model, etc.
| SR-21 | Power and Network Connections Report: View connection information for all cabinets (All Connections in Cabinets Report) or specific types of connectors that are connected to specific items (What Connects to an Item Report)
| SR-22 | Applications Report: A list of the applications installed on the servers that are being managed. Ability to view the report by application or by server
| SR-23 | Power Report - View power data for all cabinets being managed
Capacity Views |  | Tools to detremine capacity at every point in the network/power chain.
| CV-01 | Capacity: Summary view of a given cabinet including budgeted power, heat output, total weight, items in cabinet, available RUs, and largest contiguous RUs
| CV-02 | Capacity: Summary view of the types of ports, total number of ports, and total number of available ports for a given port type
| CV-03 | Capacity: Summary view of connection path information including Outlet/outlet, power path connections, amps (r/b/m), and source
| CV-04 | Capacity: Summary view of the power source including the number of breaker poles, the rated/budgeted/measured amps at the power outlet, the origination source, and sub-panel name
Audit Trails / Logging |  | Protection of your data center. Ensure only the right people have the access they need. Enable logging to ensure audit trails are available for compliance and tracking.
| AT-01 | Log: Ability to log all asset related changes for auditing purposes
| AT-02 | Log: Log is filterable, sortable, searchable
User Security and Access |  | Tools to ensure only the right people have the access they need
| US-01 | System Administrative Access: Ability to support administrative access through a web browser
| US-02 | Role-based Permissions: Ability to provide for global and local role based permissions for location, cabinet, chassis down to a single asset, including:
1. Site Administrator
2. Administrator
3. Gatekeeper
4. Operator
5. Viewer
6. Manage Library
7. Bulk Import
8. Request Bypass
9. Manage IP Address
10. Data Circuit Manager
11. Power Circuit Manager
12. Power Control
13. Create Analytics
14. Create Dashboards
15. Create Event Notifications
16. Event Manager
| US-3 | User Accounts: No limit to the number of user accounts that can be created. Each of these accounts shall have their own unique login user name and password
| US-4 | User Groups: The system shall support user groups to organize users within the DCIM system
| US-5 | Local and Remote Authorization: The system shall provide Lightweight Directory Access Protocol (LDAP) and Active Directory (AD) support
| US-6 | Authentication and Encryption: The system shall allow configuration to restrict web interface and SSH access by IP address
| US-7 | Defaults: Ability to configure default preferences for location, dashboard and measuremnets
Cabinet and Containment Security |  | Electronic access control
| CCS-1 | Electronic access control via RFID cards and card readers.
| CCS-2 | Electronic card readers can be decommissioned and recommissioned
| CCS-3 | Electronic cards can be activated, deactivated and reassigned to users
| CCS-4 | PDUs with door sensors: Door and door sensors are automatically created and mapped to the PDU
| CCS-5 | Centralized door control rights and privileges
| CCS-6 | Ability to manually lock/unlock doors
| CCS-7 | Reporting on status and audit
Implementation Services |  | Service offerings to ensure fast implementation
| IM-01 | Services: Software install, setup and configuration
| IM-02 | Services: Proof of Concept setup, testing, and user acceptance
| IM-03 | Services: Asset and Connection Audit
| IM-04 | Services: Data Migration
| IM-05 | Services: Turn-Key Service
Licensing |  | Explain licensing and maintenance models
| LI-01 | Licensing: based on cabinets and monitored devices
| LI-02 | Licensing: No license restrictions or limitations on users, sites or floor space
| LI-03 | Licensing: No license fee for a non-production or test system
| LI-04 | Licensing: Perpetual licenses
| LI-05 | Licensing: Availability of software updates, maintenance patches and upgrades
Technical Support |  | Ongoing support and training options
| TS-01 | Support: Telephone, email, remote, and on-site support
| TS-02 | Support: Ability to request solution enhancements
| TS-03 | Training: Training and webinar availability
| TS-04 | User Group: Availability for participation
| TS-05 | Online support portal with the ability to manage tickets, free traning vidoes and customer forum

## Pricing
Please fill in the following information (shaded in yellow) prior to submitting the RFP to selected vendors
Data Center Infrastructure Management (DCIM) Pricing
Hardware | List, describe, and provide the cost of each piece of hardware that you require. Please include any equipment that Vendor will provide to optimally run the software. If we are to provide certain equipment, you do not have to quote the cost of the equipment, but we need your specific technical description so that we can make a reasonable estimate. Insert additional lines as necessary to complete your quote.
Category | Componet | Description | Quantity | Price | Additional Comments
Software Licensing | List, describe, and provide the licensing, with your proposed software. List license model (perpetual, term, etc.) License Metric, License Quantity and the cost of each license or component. Insert additional lines as necessary to complete your quote
Category | Componet | Description | Quantity | Price | Additional Comments
Third-Party Software / Hardware / Integration | List, describe, and provide the cost of each piece of software or firmware (including operating systems) that is required to optimally run the software. Insert additional lines as necessary to complete your quote.Insert additional lines as necessary to complete your quote
Category | Componet | Description | Quantity | Price | Additional Comments
Installation | Describe any labor, equipment, supplies, or other costs associated with installing your proposed software. Insert additional lines as necessary to complete your quote
Category | Componet | Description | Quantity | Price | Additional Comments
Maintenance | Describe and itemize any other ongoing costs associated with the operation and maintenance of your proposed software. Provide costs for years 1 - 3. Insert additional lines as necessary to complete your quote
Category | Componet | Description | Quantity | Price | Additional Comments
Documentation and Training | If there are fees associated with your user or technical documentation or training, list them here. Insert additional lines as necessary to complete your quote.
Category | Componet | Description | Quantity | Price | Additional Comments
Other 1 | Description
Category | Componet | Description | Quantity | Price | Additional Comments
Other 2 | Description
Category | Componet | Description | Quantity | Price | Additional Comments
Summary | Pricing
Hardware
Software Licensing
Third-Party Software / Hardware / Integration
Installation
Maintenance - Year 1
Maintenance - Year 2
Maintenance - Year 3
Documentation and Training
Other 1
Other 2